## Sheet1
Subject: |  |  | Patamon | [6 empty] | Date: |  |  |  | 2021.06.25
|  | L | [9 empty] | M
a
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | BlackRock | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 | 5: 37; 6: 23; 7: 60; 8: 45.25; 9: 61; 10: 64.75; 11: 60.75 | 1 |  | 1 |  |  |  |  | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 1
| 2 |  |  |  | 20 | 52 | 78 | 72 | 55 | 52 | 80.25 | 64 | 55 | 2 |  | 2 |  |  |  | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 2
| 3 |  |  | 14 | 48 | 64 | 74 | 53 | 55.25 | 63 | 67 | 109 | 118 | 3 |  | 3 |  |  | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 3
| 4 |  |  | 44 | 64.5 | 65 | 51 | 85 | 63 | 77 | 75 | 94 | 79.25 | 4 |  | 4 |  |  | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 4
| 5 |  | 51 | 47 | 72.5 | 89 | 52 | 50 | 50 | 62 | 73 | 63 | 51.5 | 5 |  | 5 |  | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 | 38 | 37 | 5 |  | recently lose signal
| 6 |  | 50 | 60.5 | 67 | 80 | 53 | 107.75 | 57 | 141.25 | 47 | 80 | 64 | 6 |  | 6 |  | 58 | 57 | 56 | 55 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 6 |  | never shown signal or no signal for two weeks channel
| 7 | 48.75 | 56.75 | 56 | 77 | 55 | 74 | 61 | 66 | 57.5 | 55 | 56 | 54 | 7 |  | 7 | 70 | 69 | 68 | 67 | 66 | 65 | 64 | 63 | 62 | 61 | 60 | 59 | 7 |  | moved in a week
| 8 | 48 | 53.75 | 69 | 59.5 | 59 | 69 | 73 | 66 | 65 | 61 | 64 | 54 | 8 |  | 8 | 82 | 81 | 80 | 79 | 78 | 77 | 76 | 75 | 74 | 73 | 72 | 71 | 8 |  | broken channels
| 9 | 37 | 40 | 45 | 49 | 52 | 63 | 63.5 | 66 | 53 | 54 | 59.5 | 57 | 9 |  | 9 | 94 | 93 | 92 | 91 | 90 | 89 | 88 | 87 | 86 | 85 | 84 | 83 | 9 |  | large noise channels
| 10 | 86 | 47 | 47 | 51 | 58 | 70 | 60 | 51 | 56 | 60.5 | 57 | 60 | 10 | ` | 10 | 106 | 105 | 104 | 103 | 102 | 101 | 100 | 99 | 98 | 97 | 96 | 95 | 10 |  | mid-frequency noise
P | 11 | 57 | 100 | 55 | 58 | 61 | 68 | 55 | 56 | 50 | 52 | 56 | 50.5 | 11 |  | 11 | 118 | 117 | 116 | 115 | 114 | 113 | 112 | 111 | 110 | 109 | 108 | 107 | 11 |  | recently moved
| 12 |  | 71 | 64.5 | 65 | 89 | 58.5 | 54.5 | 44 | 44 | 53 | 51 |  | 12 |  | 12 |  | 128 | 127 | 126 | 125 | 124 | 123 | 122 | 121 | 120 | 119 |  | 12 | 35 | mid-frequency noise
|  | A | B | C | D | E | F | G | H | I | J | K | L |  |  |  | A | B | C | D | E | F | G | H | I | J | K | L |  | 73 | large noise channels
unit: turns |  | B: (125μm/turn); G: recorder:; I: Jianshu Li
recording system: |  | G: SU chs:; J: 3,51(small)
[8 empty] | MU chs: |  |  | 1,5,8,9,70
weak MU chs:
s: small
B12 69+2=71turns, MU
B6 46+4=50turns, queit
have mechanical noise

## Sheet2
BlackRock | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 |  |  |  |  | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 1
2 |  |  |  | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 2
3 |  |  | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 3
4 |  |  | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 4
5 |  | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 | 38 | 37 | 5
6 |  | 58 | 57 | 56 | 55 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 6
7 | 70 | 69 | 68 | 67 | 66 | 65 | 64 | 63 | 62 | 61 | 60 | 59 | 7
8 | 82 | 81 | 80 | 79 | 78 | 77 | 76 | 75 | 74 | 73 | 72 | 71 | 8
9 | 94 | 93 | 92 | 91 | 90 | 89 | 88 | 87 | 86 | 85 | 84 | 83 | 9
10 | 106 | 105 | 104 | 103 | 102 | 101 | 100 | 99 | 98 | 97 | 96 | 95 | 10
11 | 118 | 117 | 116 | 115 | 114 | 113 | 112 | 111 | 110 | 109 | 108 | 107 | 11
12 |  | 128 | 127 | 126 | 125 | 124 | 123 | 122 | 121 | 120 | 119 |  | 12
| A | B | C | D | E | F | G | H | I | J | K | L

## Sheet3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | 0 | 0 | 28 | 29 | 28 | 29 | 31.5 | 34 | 31 1/4 | 30 | 26 |  |  |  |  | 1 | 28 | 29 | 28 | 29 | 31.5 | 34 | 31 1/4 | 30 | 26
2 | 0 | 0 | 58 | 60.5 | 61 | 56.75 | 49 | 51 | 52 | 44 | 41 | 27 |  |  |  | 2 | 58 | 60.5 | 61 | 56.75 | 49 | 51 | 52 | 44 | 41 | 27
3 | 0 | 0 | 53.5 | 56 | 55 | 63 | 61 | 54 | 66.5 | 60 | 52.5 | 43 | 23 2/4 |  |  | 3 | 53.5 | 56 | 55 | 63 | 61 | 54 | 66.5 | 60 | 52.5 | 43 | 23 2/4
4 | 0 | 0 | 59 | 68.25 | 65 | 71 | 70.5 | 66 | 72 | 67 | 69 | 53 | 53 | 29 1/4 |  | 4 | 59 | 68.25 | 65 | 71 | 70.5 | 66 | 72 | 67 | 69 | 53 | 53 | 29 1/4
5 | 0 | 0 | 46 | 67 | 69 | 72.75 | 74 | 72 | 71 | 69 | 60.75 | 60 | 55 | 32 1/4 | 30.5 | 5 | 46 | 67 | 69 | 72.75 | 74 | 72 | 71 | 69 | 60.75 | 60 | 55 | 32 1/4 | 30.5
6 | 0 | 0 | 58.25 | 64 | 69.5 | 68 | 76 | 76 | 75.5 | 67 | 69 | 75 | 58 | 49 | 30 | 6 | 58.25 | 64 | 69.5 | 68 | 76 | 76 | 75.5 | 67 | 69 | 75 | 58 | 49 | 30
7 | 0 | 0 | 62 | 61 | 65 | 71 | 73.5 | 77.75 | 74 | 70 | 59.5 | 68 | 55 | 44 | 31 | 7 | 62 | 61 | 65 | 71 | 73.5 | 77.75 | 74 | 70 | 59.5 | 68 | 55 | 44 | 31
8 | 0 | 0 | 65 | 58 | 63 | 70 | 78.75 | 78 | 72 | 70.5 | 68.5 | 70 | 64 | 40 | 44 | 8 | 65 | 58 | 63 | 70 | 78.75 | 78 | 72 | 70.5 | 68.5 | 70 | 64 | 40 | 44
9 |  |  | 56.5 | 64.5 | 38 | 70 | 74.75 | 77.25 | 64 | 72 | 65.25 | 68 | 57 | 55 | 58 | 9 | 56.5 | 64.5 | 38 | 70 | 74.75 | 77.25 | 64 | 72 | 65.25 | 68 | 57 | 55 | 58
10 |  |  |  |  | 37.5 | 56 | 67 | 77 | 76 | 98.5 | 75 | 70 | 62 1/4 | 68 | 61.5 | 10 |  |  | 37.5 | 56 | 67 | 77 | 76 | 98.5 | 75 | 70 | 62 1/4 | 68 | 61.5
11 | [6 empty] | 59 | 69 | 74 | 74.5 | 68 3/4 | 95 | 71 | 54 | 57 3/4 | 11 |  |  |  |  | 59 | 69 | 74 | 74.5 | 68 3/4 | 95 | 71 | 54 | 57 3/4
12 | [8 empty] | 64 | 65 | 54 1/4 | 59 1/4 | 64.5 | 54 3/4 | 61 3/4 | 12 | [6 empty] | 64 | 65 | 54 1/4 | 59 1/4 | 64.5 | 54 3/4 | 61 3/4
13 | [10 empty] | 49 | 59 | 65 | 43 1/4 | 51.5 | 13 | [8 empty] | 49 | 59 | 65 | 43 1/4 | 51.5
14 | [12 empty] | 46 1/2 | 55±2 |  | 14 | [10 empty] | 46 1/2 | 55±2
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | 0 | 0 | 28 | 29 | 28 | 29 | 31.5 | 34 | 31 1/4 | 30 | 26 |  |  |  |  | 1 | 28 | 29 | 28 | 29 | 31.5 | 34 | 31 1/4 | 30 | 26
2 | 0 | 0 | 58 | 69 | 65 | 64.5 | 53.75 | 56.5 | 56.75 | 44 | 41 | 27 |  |  |  | 2 | 58 | 112 | 84 | 85 | 64.75 | 64.75 | 67 | 44 | 41 | 27
3 | 0 | 0 | 57 | 57 | 55 | 63 | 61 | 54 | 66.5 | 62.5 | 65.5 | 43 | 23 2/4 |  |  | 3 | 60.75 | 60.75 | 55 | 65.75 | 61 | 54 | 66.5 | 71.25 | 72.5 | 43 | 23 2/4
4 | 0 | 0 | 59 | 68.5 | 65 | 71 | 70.5 | 66 | 75 | 67 | 69 | 71 | 65.5 | 29 1/4 |  | 4 | 59 | 78.75 | 65 | 71 | 70.5 | 66 | 98 | 67 | 69 | 75.75 | 66 | 29 1/4
5 | 0 | 0 | 64 | 67 | 69 | 75 | 74 | 72 | 71 | 69 | 60.75 | 65 | 65 | 32 1/4 | 30.5 | 5 | 65.75 | 67 | 69 | 95 | 74 | 72 | 71 | 69 | 60.75 | 79 | 68.5 | 32 1/4 | 30.5
6 | 0 | 0 | 58.25 | 65 | 69.5 | 68 | 76 | 76 | 75.5 | 67 | 69 | 75 | 62.5 | 49 | 30 | 6 | 58.5 | 71 | 69.5 | 68 | 76 | 76 | 75.5 | 67 | 69 | 75 | 96.25 | 49 | 30
7 | 0 | 0 | 62 | 63.5 | 65 | 79 | 80.5 | 77.75 | 74 | 70 | 59.5 | 68 | 71.25 | 44 | 31 | 7 | 62 | 64 | 65 | 81 | 83.25 | 77.75 | 74 | 70 | 59.5 | 68 | 78 | 44 | 31
8 | 0 | 0 | 65 | 62 | 63 | 70 | 78.75 | 87.5 | 72 | 70.5 | 68.5 | 70 | 75 | 40 | 58 | 8 | 65.25 | 69 | 63 | 70 | 78.75 | 113.5 | 72 | 76 | 68.5 | 70 | 95.25 | 40 | 61.75
9 |  |  | 60.5 | 67.25 | 38 | 70 | 74.75 | 77.25 | 64 | 86 | 75 | 84 | 94.5 | 55 | 73 | 9 | 63 | 72 | 38 | 70 | 74.75 | 77.25 | 64 | 104.75 | 75 | 111.5 | 104.5 | 55 | 74.25
10 |  |  |  |  | 40 | 56 | 81 | 77 | 76 | 107 | 75 | 70 | 70.75 | 68 | 63.5 | 10 |  |  | 57 | 56 | 83.75 | 77 | 76 | 138 | 75 | 70 | 81 | 68 | 63.5
11 | [6 empty] | 59 | 81.5 | 74 | 74.5 | 90 | 101 | 76 | 61 | 60 3/4 | 11 |  |  |  |  | 59 | 91.25 | 74 | 74.5 | 102.25 | 111 | 76 | 61 | 71.75
12 | I: 64; J: 96; K: 84; L: 70; 46 1/2 M: 76.5; 55±2 N: 61; 55±2 O: 66 1/4 | 12 | [6 empty] | 64 | 103.25 | 84.75 | 70 | 76.5 | 61 | 70.25
13 | K: 72; L: 70; 46 1/2 M: 76.5; 55±2 N: 51; 55±2 O: 56 | 13 | [8 empty] | 72 | 73 | 77 | 61 | 61
14 | 46 1/2 M: 54.5; 55±2 N: 57±2 | 14 | [10 empty] | 54.5 | 61.75±2
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | 0 | 0 | =D18-D2 | =D18-D3 | =D18-D4 | =D18-D5 | =D18-D6 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | =D18-D3 | =D18-D4 | =D18-D5 | =D18-D6 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 |  |  |  | 2 | 0 | 51.5 | 23 | 28.25 | 15.75 | 13.75 | 15 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | =D18-D4 | =D18-D5 | =D18-D6 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 |  |  | 3 | 7.25 | 4.75 | 0 | 2.75 | 0 | 0 | 0 | 11.25 | 20 | 0 | 0 | 0 | 0
4 | 0 | 0 | =D18-D5 | =D18-D6 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 |  | 4 | 0 | 10.5 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 22.75 | 13 | 0 | 0
5 | 0 | 0 | =D18-D6 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | 5 | 19.75 | 0 | 0 | 22.25 | 0 | 0 | 0 | 0 | 0 | 19 | 13.5 | 0 | 0
6 | 0 | 0 | =D18-D7 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | 6 | 0.25 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.25 | 0 | 0
7 | 0 | 0 | =D18-D8 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | =D18-D20 | 7 | 0 | 3 | 0 | 10 | 9.75 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0
8 | 0 | 0 | =D18-D9 | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | =D18-D20 | =D18-D21 | 8 | 0.25 | 11 | 0 | 0 | 0 | 35.5 | 0 | 5.5 | 0 | 0 | 31.25 | 0 | 17.75
9 |  |  | =D18-D10 | =D18-D11 | =D18-D12 | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | =D18-D20 | =D18-D21 | =D18-D22 | 9 | 6.5 | 7.5 | 0 | 0 | 0 | 0 | 0 | 32.75 | 9.75 | 43.5 | 47.5 | 0 | 16.25
10 |  |  |  |  | =D18-D13 | =D18-D14 | =D18-D15 | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | =D18-D20 | =D18-D21 | =D18-D22 | =D18-D23 | 10 | 0 | 0 | 19.5 | 0 | 16.75 | 0 | 0 | 39.5 | 0 | 0 | 18.75 | 0 | 2
11 | [6 empty] | =D18-D16 | =D18-D17 | =D18-D18 | =D18-D19 | =D18-D20 | =D18-D21 | =D18-D22 | =D18-D23 | =D18-D24 | 11 | 0 | 0 | 0 | 0 | 0 | 22.25 | 0 | 0 | 33.5 | 16 | 5 | 7 | 14
12 | I: =D18-D19; J: =D18-D20; K: =D18-D21; L: =D18-D22; 54.5 M: =D18-D23; 57±2 N: =D18-D24; 57±2 O: =D18-D25 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.25 | 30.5 | 10.75 | 12 | 6.25 | 8.5
13 | K: =D18-D22; L: =D18-D23; 54.5 M: =D18-D24; 57±2 N: =D18-D25; 57±2 O: =D18-D26 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 14 | 12 | 17.75 | 9.5
14 | 54.5 M: =D18-D25; 57±2 N: =D18-D26 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | #VALUE! | 0
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O |  | C | D | E | F | G | H | I | J | K | L | M | N | O

## Sheet4
PCB code | 157 | 156 | 155 | 154 | 153 | 152 | 151 | 150 | 149 | 148 | 147 | 146 | 145 | 144 | 143 | 142 | 141 | 140 | 139 | 138 | 137 | 136 | 135 | 134 | 133 | 132 | 131 | 130 | 129 | 128 | 127 | 126 | 125 | 124 | 123 | 122 | 121 | 120 | 119 | 118 | 117 | 116 | 115 | 114 | 113 | 112 | 111 | 110 | 109 | 108 | 107 | 106 | 105 | 104 | 103 | 102 | 101 | 100 | 99 | 98 | 97 | 96 | 95 | 94 | 93 | 92 | 91 | 90 | 89 | 88 | 87 | 86 | 85 | 84 | 83 | 82 | 81 | 80 | 79 | 78 | 77 | 76 | 75 | 74 | 73 | 72 | 71 | 70 | 69 | 68 | 67 | 66 | 65 | 64 | 63 | 62 | 61 | 60 | 59 | 58 | 57 | 56 | 55 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 | 38 | 37 | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
grid code | O13 | O12 | O11 | O10 | O9 | O8 | O7 | O6 | O5 | N14 | N13 | N12 | N11 | N10 | N9 | N8 | N7 | N6 | N5 | N4 | M14 | M13 | M12 | M11 | M10 | M9 | M8 | M7 | M6 | M5 | M4 | M3 | L13 | L12 | L11 | L10 | L9 | L8 | L7 | L6 | L5 | L4 | L3 | L2 | K13 | K12 | K11 | K10 | K9 | K8 | K7 | K6 | K5 | K4 | K3 | K2 | K1 | J12 | J11 | J10 | J9 | J8 | J7 | J6 | J5 | J4 | J3 | J2 | J1 | I12 | I11 | I10 | I9 | I8 | I7 | I6 | I5 | I4 | I3 | I2 | I1 | H11 | H10 | H9 | H8 | H7 | H6 | H5 | H4 | H3 | H2 | H1 | G11 | G10 | G9 | G8 | G7 | G6 | G5 | G4 | G3 | G2 | G1 | F10 | F9 | F8 | F7 | F6 | F5 | F4 | F3 | F2 | F1 | E10 | E9 | E8 | E7 | E6 | E5 | E4 | E3 | E2 | E1 | D9 | D8 | D7 | D6 | D5 | D4 | D3 | D2 | D1 | C9 | C8 | C7 | C6 | C5 | C4 | C3 | C2 | C1 | B8 | B7 | B6 | B5 | B4 | B3 | B2 | B1 | A8 | A7 | A6 | A5 | A4 | A3 | A2 | A1
br channel# | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160
[126 empty] | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82
20200824 | [9 empty] | 0+54=54,1st single unit
20200826 | [20 empty] | 0+38=38, impedance decreased (zeus)
38+2=40
20200827 | 0+27=27, impedance decreased (zeus) | [9 empty] | 0+32=32, impedance decreased (zeus) | [10 empty] | 0+50=50, impedance decreased (zeus)
| 27+24.5=51.5, 1st single unit | [9 empty] | 32+8.75=42.75, 1st single unit | [10 empty] | bg spikes (weak)
50+0.25=50.25
20200828 |  | 0+37=37, impedance decreased (zeus) | 0+35=35, impedance decreased (zeus) | 0+28=28, impedance decreased (zeus)
|  | 37+3.75=40.75, bg spikes (weak) | 35+3.25=38.25, bg spikes (weak) | 28+8.75=36.75, bg spikes (weak)
|  | 40.75+2.25=43, bg spikes (weak) | 38.25+19.5=57.75, 1st single unit | 36.75+24.5=61.25, 1st single unit
43.75+10=53.75
20200829 | [11 empty] | 0+47=47, impedance decreased (zeus) | 0+44=44, impedance decreased (zeus) | [9 empty] | 0+51.75=51.75, impedance decreased (zeus) | 0+50=50, impedance decreased (zeus)
[12 empty] | 47+4.75=51.75, 1st single unit | 44+10.5=54.5, 1st single unit | [9 empty] | 51.75+0.25=52, bg spikes (weak) | 50+2=52, bg spikes (weak)
52+9.25=61.25, bg spikes
61.25+3.75=65, bg spikes (sporadic)
20200830 |  |  |  |  | 0+28=28, impedance decreased (zeus) | 0+28=28, impedance decreased (zeus) | 0+31=31, impedance decreased (zeus) | 0+30=30, impedance decreased (zeus) | 0+30=30, impedance decreased (zeus) |  |  |  |  | 0+17=17 | 0+37=37, impedance decreased (zeus) | 0+30=30, impedance decreased (zeus) | 0+31=31, impedance decreased (zeus) | [7 empty] | 0+46=46, impedance decreased (zeus) | 0+43=43, impedance decreased (zeus) | 0+37=37, impedance decreased (zeus) | 0+37=37, impedance decreased (zeus) | 0+36=36, impedance decreased (zeus)
[5 empty] | 28+30=58, 1st single unit | large voltage level, however cannot identify spike waveforms
20200831 | [32 empty] | 0+59=59，multi unit, missed cortex-entering event | 0+59.25=59.25, 1st single unit | 0+52.5=52.5, bg spikes (weak) | 0+46=46, impedance decreased (zeus) | 0+42=42, impedance decreased (zeus) | 0+40.25=40.25, bg spikes (weak) | 0+40=40, bg spikes (weak) | 0+47=47, bg spikes | 0+60=60，single unit, missed cortex-entering event
20200902 | [17 empty] | 0+32=32, impedance decreased (AO) | [23 empty] | 0+36=36, impedance decreased (AO)
20200903 | [29 empty] | 0+35=35, impedance decreased (AO) | 0+31=31, impedance decreased (AO) | 0+16=16, impedance decreased (AO) | [10 empty] | 0+30=30, impedance decreased (AO) | 0+25=25, impedance decreased (AO) | 0+40=40, impedance decreased (AO) | 0+42=42, impedance decreased (AO) | 0+55=55, impedance decreased (AO) | 0+52=52, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+46.5=46.5, impedance decreased (AO) | 0+45=45, impedance decreased (AO) | 0+45=45, impedance decreased (AO) | 0+42=42, impedance decreased (AO) | 0+38=38, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+25=25, impedance decreased (AO) | 0+45=45, impedance decreased (AO) | 0+50=50, impedance decreased (AO) | 0+55=55, impedance decreased (AO) | 0+49=49, impedance decreased (AO)
40+9=49, 1st single unit
20200904 | [61 empty] | 0+42=42, impedance decreased (AO) | 0+45=45, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+42=42, impedance decreased (AO) | 0+39=39, impedance decreased (AO) | 0+36=36, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+42=42, impedance decreased (AO) | 0+50=50, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+43=43, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+43=43, impedance decreased (AO) | 0+39=39, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+45=45, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+49=49, impedance decreased (AO)
20200906 | [93 empty] | 0+32=32, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+30=30, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+42=42, impedance decreased (AO) | 0+31=31, impedance decreased (AO) | 0+26=26, impedance decreased (AO) | 0+27=27, impedance decreased (AO) | 0+25=25, impedance decreased (AO) | 0+28=28, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+41=41, impedance decreased (AO) | 0+29=29, impedance decreased (AO) | 0+25=25, impedance decreased (AO) | 0+26=26, impedance decreased (AO) | 0+25=25, impedance decreased (AO)
20200907 | [13 empty] | 17+26=43, impedance decreased (AO) |  |  |  |  | 0+30=30, impedance decreased (AO) | 0+27=27, impedance decreased (AO) | [96 empty] | 0+26=26, impedance decreased (AO) | 0+50=50, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+34=34, impedance decreased (AO) | 0+27=27, impedance decreased (AO) | 0+26=26, impedance decreased (AO) | 0+24=24, impedance decreased (AO) | 0+26=26, impedance decreased (AO) | 0+29=29, impedance decreased (AO) | 0+49=49, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+38=38, impedance decreased (AO) | 0+29=29, impedance decreased (AO) | 0+25=25, impedance decreased (AO) | 0+28=28, impedance decreased (AO) | 0+27=27, impedance decreased (AO) | 0+24=24, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+48=48, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+38=38, impedance decreased (AO) | 0+28=28, impedance decreased (AO)
32+2=34
20200908 | [85 empty] | 0+47=47, impedance decreased (AO) | 0+49=49, impedance decreased (AO) | 0+47=47, impedance decreased (AO) | 0+46=46, impedance decreased (AO) | 0+44=44, impedance decreased (AO) | 0+40=40, impedance decreased (AO) | 0+34=34, impedance decreased (AO) | 0+26=26, impedance decreased (AO)
20200911 | [57 empty] | 45+1=46
20200915 | [58 empty] | 50+0.5=50.5
20200916 |  | 53.75+8=61.75, 1st single unit | [18 empty] | 40+6.5=46.5, 1st single unit
20200919 | [13 empty] | 43+25=68 | [8 empty] | 52+12.5=64.5, 1st single unit
(waveforms changed fastly in a short period, seems due to cortex rebound after penetrating the pia)
20090920 | [17 empty] | Imp. high | Imp. high | Imp. high | [9 empty] | Imp. high |  | Imp. high | [10 empty] | Imp. high | Imp. high | [11 empty] | Imp. high | Imp. high
[18 empty] | 34+1=35, impedance decreased (AO) | 30+1=31, impedance decreased (AO) | 27+1=28, impedance decreased (AO) | [9 empty] | 35+1=36, impedance decreased (AO) |  | 16+7=23, impedance decreased (AO) | [10 empty] | 30+1=31, impedance decreased (AO) | 25+2=27, impedance decreased (AO) | [11 empty] | 30+1=31, impedance decreased (AO) | 25+1=26, impedance decreased (AO)
20200922 | [29 empty] | Imp. high | [15 empty] | 42+10.75=52.75, bg spikes (weak) | 55+4.5=59.5, bg spikes (weak)
36+0.5=36.5, impedance decreased (AO)
20200923 | [21 empty] | 50.25+3.25=53.5, bg spikes (weak) |  |  | 46+9.75=55.75, bg spikes (weak) | 43.5+13.5=57, bg spikes | 37+15.25=52.25, bg spikes
20200924 | [45 empty] | 52.75+1.5=54.25, 1st multi unit | Quiet/Noisy | 52+5.5=57.5, amplitude increased | 46+3.25=49.25, amplitude increased
59.5+3=62.5, bg spikes (weak)
20200925 | [34 empty] | Quiet/Noisy | 46+0.5=46.5, bg spikes (weak) | 43+0.5=43.5, bg spikes (weak) |  | Quiet/Noisy |  |  | 36+2.5=38.5, bg spikes (yang) | [22 empty] | 46+0.75=46.75, bg spikes (yang) | 42+0.5=42.5, bg spikes (yang) | [13 empty] | 39+0.5=39.5, bg spikes (yang) |  |  |  | 46+0.75=46.75, bg spikes (yang) | [5 empty] | 44+0.25=44.25, bg spikes (yang)
[35 empty] | 52.5+56=62.5, bg spikes (weak) |  |  |  | 40+5.75=45.75, bg spikes (weak)
20200926 | [95 empty] | 30+1.25=31.25, bg spikes (weak) | [12 empty] | 48+0.25=48.25, bg spikes | 47+2=49, bg spikes | [7 empty] | 50+0.5=50.5, bg spikes
20200928 | [15 empty] | Imp. high | Imp. high | Imp. high | Imp. high | 28+1.25=29.25 | [49 empty] | Imp. high | [11 empty] | 45+1.25=46.25, bg spikes (yang) | [8 empty] | 40+1=41, bg spikes (yang)
[16 empty] | 30+2.5=32.5, bg spikes | 31+1=32, bg spikes | 35+1.25=36.25, bg spikes | 31+0.5=31.5, bg spikes | noise level low (-13 uV) | [49 empty] | 42+2=44, bg spikes
20200929 | [14 empty] | Imp. high |  |  |  | Imp. high | [8 empty] | Imp. high | [64 empty] | 26+4=30, impedance normal, noise level high
[15 empty] | 38+2=40, bg spikes |  |  |  | 31.5+0.75=32.25, bg spikes | [8 empty] | 37+2.75=39.75, bg spikes
20200930 | [46 empty] | 62.5+3.25=65.75, 1st single unit (small) | 57.5+1.5=59, 1st single unit (irregular) |  | 44+5=49, bg spikes | [30 empty] | Imp. high | [7 empty] | Imp. high |  |  |  | Imp. high
[81 empty] | 30+0.5=30.5, bg spikes | [7 empty] | 46+3=49, bg spikes |  |  |  | 30+4=34, bg spikes
30.5+0.75=31.25
20201001 | [11 empty] | Quiet/Noisy | [29 empty] | Quiet/Noisy | [33 empty] | 47+0.5=47.5 |  | 46+7=53, noise level high (all through the path)
[12 empty] | 51.75+3=54.75, bg spikes | [29 empty] | 38.5+2.5=41, bg spikes | [35 empty] | bg spikes (all through the path)
20201002 | [10 empty] | 42.75+0.75=43.5
20201003 | [125 empty] | 65: 26+2=28, impedance normal, noise level high; 70: noise level high
38+2.5=40.5, noise level high
40.5+4.5=45 bg spikes
20201004 | [5 empty] | Imp. high |  |  | Imp. high
[6 empty] | Charlie's trick, impedance decreased |  |  | 30+0.5=30.5 impedance decreased
20201008 | [46 empty] | 65.75+3=68.75, bg spikes | [36 empty] | 46.75+3.5=50.25, bg spikes | 49+3.25=52.25, bg spikes |  |  | Imp. high
47+2=49, Imp. high
bg spikes
20201009 | [93 empty] | 32+10.5=42.5, bg spikes | Imp. high
30+16=46, Imp. high
noise level high
20201010 | [24 empty] | Quiet | [86 empty] | 41+2=43, bg spikes(week)
55.75+5=60.75, noise increased
60.75+1.5=62.25, bg spikes
20201014 | [96 empty] | 48+0.5=48.5, bg spikes |  |  | 44+0.5=44.5, bg spikes(week) |  |  | 31+0.5=31.5, bg spikes | [8 empty] | 43+0.25=43.25, bg spikes | 29+0.5-0.5=29, loud noise | [8 empty] | 34+3=37, impedance normal, noise level high | 27+1=28, impedance normal, noise level high
bg spikes
20201016 | [53 empty] | 42+2=44, bg spikes | 38+6.5=44.5, bg spikes | 31+3.75=34.75
Imp. high
20201017 | [31 empty] | Imp. high |  |  |  |  | Imp. high | Imp. high | [21 empty] | 55+4.5=59.5, bg spikes
[32 empty] | 23+0.5=59.5, impedance decreased (AO) |  |  |  |  | 43.5+1=44.5, impedance decreased (AO) | 40.25+2=42.25, impedance decreased (AO)
42.25+2.5=44.75, bg spikes
44.75+5.5=50.25, bg spikes
20201020 | [125 empty] | 68: Quiet; 77: Quiet
[129 empty] | 48+4.5=52.5, bg spikes(week) | [8 empty] | 48+2.75=50.75, bg spikes(week)
20201021 | [93 empty] | Quiet
42.5+7.25=49.75, bg spikes
20201023 | [93 empty] | 49.75+4.25=54 | 46+0.75=46.75
20201024 | [123 empty] | Quiet
26+30=56, bg spikes(sporadic)
20201026 | [124 empty] | Quiet | 65: Quiet
[125 empty] | 24+0.75=24.75, bg spikes | 65: 28+0.75=28.75, bg spikes
20201027 | [125 empty] | 66: Quiet; 67: Quiet; 68: 52.5+1=53.5, bg spikes louder
[127 empty] | 29+1.25=30.25, bg spikes | 49+0.5=49.5, bg spikes | 53.5+2.5=56, bg spikes small(but still in gray matter)
[127 empty] | 30.25+0.5=30.75, bg spikes |  | 56+7.25=63.75, bg spikes very clear
30.75+7.25=38, bg spikes smaller(gap)
38+3.75=41.75, bg spikes smaller(may in the white matter)
41.75+4.25=46, bg spikes bigger(too thin for white matter <<2mm)
46+0.5=46.5, bg spikes biggest ever
20201028 | [125 empty] | 65: 28.75+2=30.75, bg spikes; 66: 46.5+3.25=49.75, become quiet; 68: 63.75+2.75=66.5; 69: Quiet; 70: 45+0.5=45.5, bg spikes
[130 empty] | 46+4.25=50.25, bg spikes small | 45.5+4=49.5, bg spikes smaller
[130 empty] | 50.25+2.25=52.5 | 49.5+2=51.5
[130 empty] | 52.5+3.5=56, bg spikes louder | 51.5+1.75=53.25 bg spikes
20201029 | [125 empty] | 66: 49.75+1.75=51.5, bg spikes louder, but smaller after a while; 68: 66.5+1=67.5, bg spikes; 69: become single units; 74: Quiet
[127 empty] | 51.5+2=53.5 quiet |  | 67.5+0.75=68.25, bg spikes | [5 empty] | 27+7.75=34.75, bg spikes
53.5+1.25=54.75, weak bg spikes
54.75+7.25=62turns, bg spikes louder
62+2=64turns, small single unit, barely above the noise
20201030 | [56 empty] | broke | [11 empty] | broke, -8turns | [11 empty] | broke, -12turns | [10 empty] | broke, -8 turns | [10 empty] | broke, -8 turns | [9 empty] | 29+4=33, broke, -12turns | [8 empty] | 37+16=53, noise large |  |  |  | 70: 53.25+3.75=57, bg spikes louder; 71: 29+0.5=29.5, broke, -12; 72: Quiet; 73: Quiet; 75: Quiet; 78: Quiet; 79: 38+4=42, bg spikes bigger; 80: broke after 1-2turns, -8 turns
[131 empty] | 57+0.75=57.75, bg spikes |  | 25+4.25=29.25, bg spikes with noise | 28+17=45, bg spikes weak |  | 24+6=30, weak bg spikes with noise |  |  | 44+4=48, bg spikes bigger
20201031 | [5 empty] | 28+13=41, AO Imp low(1525KOhm) | 31+2=33, broke, -9turns | 30+2=32, broke, -10turns | 30.5+2=32.5, broke, -8turns | [10 empty] | broke directly, -10turns | [11 empty] | 23.5+2=25.5, broke, -8turns | [11 empty] | 27+3=30, broke, -8turns | [11 empty] | 34.75+2.75=37.5, become quiet | [11 empty] | 36+2=38, become quiet | [11 empty] | 39.5+2.5=42 | [23 empty] | 26+4=30 | 27+4=31 | 25+4=29 | 28+1.5=29.5, noise louder | [6 empty] | 25+1.5=26.5, become quiet | 26+2.25=28.25, become quiet | 25+2.75=27.75, become quiet | 26+1.75=27.75, become quiet
[6 empty] | 41+3=44, single units | [49 empty] | 37.5+2.25=39.75 | [11 empty] | 38+2=40 | [38 empty] | 29.5+2.5=32 | [6 empty] | 26.5+2.5=29 | 28.25+1.75=30 | 27.75+1.25=29 | 27.75+2.25=30

## color legends of sheet4
example | meaning
0+50=50, impedance decreased (zeus) | impedance decreasing to normal level (for a successful penetration), usually from a high impedance. Detected with zeus, which means it is indirectly determined through noise amplitude.
0+16=16, impedance decreased (AO) | impedance decreasing to normal level (for a successful penetration), usually from a high impedance. Detected with an alphaomega system if (AO) is writen, and with a blackrock system if not.
51.75+0.25=52, bg spikes (weak) | weak/uncertain spike sounds in the background
52+9.25=61.25, bg spikes | strong/weak but doubtless spike sounds in the background
61.25+3.75=65, bg spikes (sporadic) | sporadic spike sounds along the track
0+59=59，multi unit, missed cortex-entering event | strong spike/units can be heared, but the exact depth where the electrode entered cortex was not recorded, either due to faulty operation or quick rebound of flexible tissue
28+30=58, 1st single unit | the 1st encountered single/multi unit with clear waveform in that channel
large voltage level, however cannot identify spike waveforms | the overall amplitude of that channel is large, and it is not clear whether there are true signals in the data. Noitice that Imp. High should be used instead if the high amplitude is likely because of the impedance. If there was both large noise and spikes, use a combination of this label and 'bg spikes' label
Imp. high | impedance abnormally high
Quiet | can not hear spikes from the background
Quiet/Noisy | cannot hear spikes either because it is quiet or because it is too noisy. This label should not be used as long as the exact situation has been recorded in the original record
55.75+5=60.75, noise increased | noise amplitude increased but within normal range, suggesting that the electrode has just encountered a new layer of cortex from outside of the brain or from white matter but is not enoughly closed to a neuron to hear spikes
broke, -8turns | electrode broke